## Sheet1
Revised Bid Form Attachment B per Addendum # 02
Fire System Sprinkler Modifications - MSA Project No. 20-032
M&T Bank Stadium Sports Complex
Maryland Stadium Authority
Bid Submitted by ____________________________________________
Authorized Signature: ________________________________________ Date: ____________________
This Bid Form and attachments must be fully completed and included with the Contractor's Bid.
Work Item | Description | Reference | Estimated Quantity | Unit Price | Extended Cost
1 | General Conditions, Engineering and Supervision | N/A | 1 | 0 | 0
2 | 2-1/2" - 21'-0" Sch. 10 black steel with 2 grvd. Coup, 2 hanger assem. - Furnish & Install. | FP-101-106 | 5 | 0 | 0
3 | 3" - 21'-0" Sch. 10 black steel with 2 grvd. Coup, 2 hanger assem. - Furnish & Install. | FP-101-106 | 5 | 0 | 0
4 | 4" - 21'-0" Sch. 10 black steel with 2 grvd. Coup, 2 hanger assem. - Furnish & Install. | FP-101-106 | 25 | 0 | 0
5 | 6" - 21'-0" Sch. 10 black steel with 2 grvd. Coup, 2 hanger assem. - Furnish & Install. | FP-101-106 | 20 | 0 | 0
6 | 8" - 21'-0" Sch. 10 black steel with 2 grvd. Coup, 2 hanger assem. - Furnish & Install. | FP-101-106 | 22 | 0 | 0
7 | 2-1/2" - 10'-0" Sch. 10 black steel with 2 grvd. Coup, 1 hanger assem., 1 branchline outlet, fittings to reconnect to the branchline - Furnish & Install. | FP-101-106 | 30 | 0 | 0
8 | 3" - 10'-0" Sch. 10 black steel with 2 grvd. Coup, 1 hanger assem., 1 branchline outlet, fittings to reconnect to the branchline - Furnish & Install. | FP-101-106 | 180 | 0 | 0
9 | 4" - 10'-0" Sch. 10 black steel with 2 grvd. Coup, 1 hanger assem., 1 branchline outlet, fittings to reconnect to the branchline - Furnish & Install. | FP-101-106 | 50 | 0 | 0
10 | 6" - 10'-0" Sch. 10 black steel with 2 grvd. Coup, 1 hanger assem., 1 branchline outlet, fittings to reconnect to the branchline - Furnish & Install. | FP-101-106 | 150 | 0 | 0
11 | 1" - 10'-0" Sch. 40 black steel with 1 branchline threaded fitting, 1 hanger assem., 1 branchline outlet, fittings/pipe nipples to reconnect to the new dry pendent, dry pendent to match existing, maximum 24" in length - Furnish & Install. | FP-101-106 | 50 | 0 | 0
12 | 1-1/4" - 10'-0" Sch. 40 black steel with 1 branchline threaded fitting, 1 hanger assem., 1 branchline outlet, fittings/pipe nipples to reconnect to the new dry pendent, dry pendent to match existing, maximum 24" in length - Furnish & Install. | FP-101-106 | 50 | 0 | 0
13 | 1-1/2" - 10'-0" Sch. 40 black steel with 1 branchline threaded fitting, 1 hanger assem., 1 branchline outlet, fittings/pipe nipples to reconnect to the new dry pendent, dry pendent to match existing, maximum 24" in length - Furnish & Install. | FP-101-106 | 50 | 0 | 0
14 | 2" - 10'-0" Sch. 40 black steel with 1 branchline threaded fitting, 1 hanger assem., 1 branchline outlet, fittings/pipe nipples to reconnect to the new dry pendent, dry pendent to match existing, maximum 24" in length - Furnish & Install. | FP-101-106 | 15 | 0 | 0
15 | Nitrogen generator PGEN 3. includes all connection fittings to dry pipe system, smart vent(s) and handheld gas analyzer - Furnish & Install. | FP 201 - 203 | 5 | 0 | 0
16 | Nitrogen generator PGEN 10. includes all connection fittings to dry pipe system, smart vent(s) and handheld gas analyzer - Furnish & Install. | FP 201 - 203 | 11 | 0 | 0
17 | Nitrogen generator PGEN 50 AND 7.5 HP air compressor. includes all connection fittings to dry pipe system, smart vent(s) and handheld gas analyzer - Furnish & Install. | FP 201 - 203 | 1 | 0 | 0
18 | 2" dry pipe valve with complete trim piping and connections to existing system - Furnish & Install. | FP 201 - 203 | 2 | 0 | 0
19 | 2-1/2" dry pipe valve with complete trim piping and connections to existing system - Furnish & Install. | FP 201 - 203 | 2 | 0 | 0
20 | 4" dry pipe valve with complete trim piping and connections to existing system - Furnish & Install. | FP 201 - 203 | 11 | 0 | 0
21 | 6" dry pipe valve with complete trim piping and connections to existing system - Furnish & Install. | FP 201 - 203 | 3 | 0 | 0
22 | 2" total pac preaction sprinkler cabinet assembly and connections to existing system -Furnish & Install. | FP 201 - 203 | 1 | 0 | 0
23 | 4" total pac preaction sprinkler cabinet assembly and connections to existing system - Furnish & Install. | FP 201 - 203 | 2 | 0 | 0
24 | PS-10 pressure switch and connections to existing system. - Furnish & Install. | FA 201 - 203 | 18 | 0 | 0
25 | PS-40 pressure switch and connection to existing system. - Furnish & Install. | FA 201 - 203 | 18 | 0 | 0
26 | Addressable monitor module connected to existing fire alarm system, including all required programming, and wire / conduit - lengths up to 30 feet - Furnish & Install. | FA 201 - 203 | 56 | 0 | 0
27 | Other Project costs | N/A | 1 | 0 | 0
| TOTAL BID PRICE |  |  |  | 0
END OF BID FORM